# NOTE: GC Mounting kit required for all GC PALs!

Standard Equipment

Sales Representative:      	Date:7/28/2026

Special Pricing  Comment:

Company:      	Contact:

Address:

City:       State:       Zip:

e-mail:      Phone:      Fax:

Functional Area:

Deletes Check here for “Multiple Identical Instruments” and list Qty.

GC PAL (Liquid Injection Only! (NOT Upgradeable to LHS)

1 Wash station (5 position)

1 Sample tray holder 76mm

1 Sample 98 x 2mL/76 x 1mL

1 Syringe adapter 10uL & plunger holder

2 Syringes 10uL SYRC L10-26S-AS

Check here for “Multiple Identical Instruments” and list Qty. DI PAL for Liquid Injection (without Headspace option)

1 Wash station (5 position)

1 Sample tray holders 114mm

1 Sample trays 98 x 2mL/76 x 1mL

1 Syringe adapter 10uL & plunger holder

2 Syringes 10uL SYRC L10-26S-AS

Check here for “Multiple Identical Instruments” and list Qty. Combi PAL for Liquid Injection and Headspace injection

1 Incubator/Agitator for 2/10/20mL, temp. to 200C

1 Wash station (5 position)

2 Sample tray holders 114mm

1 Sample tray 98 x 2mL/76 x 1mL

1 Sample trays 32 x 10/20mL

1 Syringe adapter 10uL & plunger holder

2 Syringes 10uL SYRC L10-26S-AS

1 Syringe heater 2.5mL, temperature up to 150C

2 Headspace syringes 2.5mL SYRC HS2.5-23-5

1 Crimper

*The following items require RED FOLDER PROJECT status

| Any Twin Configuration | Cruise Control 4-1,4-2 |  |
| --- | --- | --- |
| Any ATAS Item | Bar Code Reader |  |
| Second Agitator | Single Magnet Mixer |  |
| Diluter | Cold On-column Injection Kit |  |
| Cycle Composer Macro |  |  |

*Anytime these requirement exist you must:	1.  Complete 2nd description sheet

2.  Include an installation charge

# Additional Required Equipment

- Software

Cycle Editor (Only with Cycle Comp./ Cruise Control)

Site License	Qty.

Custom Macro: Attach Details 	Qty.

- Interface

GC, Make , Model

MS, Make , Model

Mounting Kit 	Qty.

Additional Cables/ Interfaces,

Integration Software, , Version:

3.	Accessories and Modules

Tray Holder  	Qty.

Tray Holder  	Qty.

Trays		Qty.

Trays		Qty.

Syringe Adaptors 	Qty.

Syringe Adaptors 	Qty.

Syringe	       Qty.

Syringe	       Qty.

PAL Wash Large  Qty.

Other Agitator Insert

SPME Option

Fiber Conditioning Station for SPME(NH)

3 Ink Well Reagent Holder	Qty.

Headspace Upgrade	Qty.

Agitator		Qty.

* Single Magnet Mixer (Check Availability)

* Cooled Single Magnet Mixer (Check Availability)

* Cold On-column Injector Kit

* Bar Code Reader

* Venting Tool

Other Items:      Qty.

Other Items:      Qty.

Other Items:      Qty.

Other Items:      Qty.

* Red Folder Project

4.	Support Services

WE/MEC	Qty.

IQ/OQ	Qty.

Install 	Qty.

Additional Comments: